## Slide 1: Single-Molecule Localization Microscopy (SMLM)
Genome 575: Fundamentals of Biomedical Instrumentation
Brian Beliveau

## Slide 2
First off…
https://pbs.twimg.com/media/EHZ5xFnWoAASVvx.jpg

## Slide 3
Second off … evals (15 mins)
https://www.repumint.com/wp-content/uploads/2018/05/Yelp-reviews.jpg

## Slide 4
Recap from last time
Objectives have important properties including magnification, working distance, and immersion medium
Numerical Aperture (N.A.) determines the resolution of the imaging system
Point Spread Functions (PSFs) can be used to QC an objective/imaging system
The PSF is anisotrpic and narrower in the XY (lateral) than Z (axial) dimension

## Slide 5
Objectives revisited
https://www.olympus-global.com/csr/social/learning-about-science-and-the-future/technology/lens02/images/index-03.png

## Slide 6
Reflection revisited
https://upload.wikimedia.org/wikipedia/commons/thumb/8/8a/ReflexionTotal_en.svg/2560px-ReflexionTotal_en.svg.png,
When moving to a medium of lower refractive index, incident light at an angle > the critical angle will be totally internally reflected
Total internal reflection generates an evanescent wave at the interface

## Slide 7
Refraction revisited
https://upload.wikimedia.org/wikipedia/commons/thumb/4/4c/Numerical_aperture.svg/1200px-Numerical_aperture.svg.png, https://ars.els-cdn.com/content/image/1-s2.0-B9780124077614000038-f03-08-9780124077614.jpg

## Slide 8
Resolution revisited
https://www.opto-e.com/basics/media/basics/optics/optics26.png,
Rayleigh criterion: D = 1.22 * 𝝀 / N.A. (for 520 nm, N.A 1.45: 437.5 nm)
Abbe’s formula
Lateral (XY): d = 𝝀 / 2 * N.A
For 520 nm, N.A. 1.45:
dXY = ~180 nm

## Slide 9
Increase the information we obtain about the PSF
  SIM (structured illumination microscopy): patterned illumination at multiple angles -> more info in Fourier space
Change what you are sampling
  STED (Stimulated Emission Depletion): use 2 lasers to restrict illumination to area smaller than airy disc
  ExM (Expansion Microscopy): Make your sub-diffraction object physically bigger
Use Estimation (and assumptions) to infer information about emitters: SMLM (Single-Molecule Localization Microscopy)
How do we overcome the resolution limit?

## Slide 10
SMLM: basic principles
https://ars.els-cdn.com/content/image/1-s2.0-S266638992030043X-gr3.jpg, https://els-jbs-prod-cdn.jbs.elsevierhealth.com/cms/attachment/8ef80472-1ec7-461e-a32f-930844e9df6d/gr1.jpg

## Slide 11
SMLM: an overview
Beliveau et al. Nat Comms 2015
“Time-lapse” movies of fixed or live samples, typically 5k–50k frames
Localization precision: ~5–20 nm (XY), 15–50 nm (Z)
Resolution = ~2.35 x precision: ~12–50 nm (XY), ~50-120 nm (Z)
Reconstructions composed of 100s – 10000s of individual localizations

## Slide 12
How do we localize emitters in 3D?
https://www.science.org/cms/10.1126/science.1153529/asset/f4410887-bdbb-43f2-ade0-db627d2a9b04/assets/graphic/319_810_f1.jpeg
A cylindrical lens distorts the PSF differently in planes above/below the focal plane
Information is gained about Z, but lost about XY

## Slide 13
Detector sensitivity
PSF sampling
Stage drift (XY)
Stage drift (Z)
Speed/throughput
Data transfer / size
Sample integrity
Buffer conditions (pH!)
Bleaching / triplet state transitions
Cost
What are instrumentation challenges for SMLM?
Mechanical stability
Objective / immersion
Selective illumination/collection (SNR)

## Slide 14
Challenge: How do we make a focus lock?
https://www.microscope.healthcare.nikon.com/products/inverted-microscopes/eclipse-ti2-series?utm_source=MicroscopyU&utm_medium=link&utm_campaign=MicroscopyU%20Content%20Link&utm_content=Perfect%20Focus%20System%204

## Slide 15
Challenge: How do we make a focus lock?
https://www.microscopyu.com/applications/live-cell-imaging/nikon-perfect-focus-system