## Slide 1: Matrix Assisted Laser Desorption/Ionization (MALDI)
Sample / Matrix
25 kV
N2 Laser – 337 nm

## Slide 2: Matrix Assisted Laser Desorption/Ionization (MALDI)
Sample / Matrix
25 kV
N2 Laser – 337 nm

## Slide 3: Matrix-Assisted Laser Desorption (MALDI) Time of Flight (TOF) Mass Spectrometry
Detector
337 nm N2 UV
Laser Pulse
25 kV
Vacuum

## Slide 5: Proteomics: Traditional Technology
Characterize peptides by mass spectrometry
N
C
C
N
2D Gel
1D Gel

## Slide 6: Peptide Mass Fingerprinting
MALDI
Detector
…R ASDEWK LHPSR WEQCPEFGR…
(2) Time of Flight
(1) Digest
protein
(3) Set up
mass list
609
735
1152
…
(4) Compare mass list against protein database of peptides

## Slide 7: MALDI-TOF is used for imaging

## Slide 9: Resolving power in Mass Spectrometry
In Chromatography
In Mass Spectrometry
Quadrupole and Quadrupole Ion Traps: Delta Mass is constant across mass range. So R increases with m/z normally report just delta mass
Time of Flight: Resolving power is constant across mass range. So, the delta mass increases with m/z
Orbitrap Mass Analyzer: Resolving power decreases by the square-root of m/z
Ion Cyclotron Resonance Mass Analyzer (FTICR): Resolving power is inversely proportional to m/z
depends on the mass

## Slide 10: Orbitrap Mass Spectrometer

## Slide 11: m/z Dependency of Resolving Power
Zubarev and Makarov, Anal Chem 2013

## Slide 12
Mr
pI
LC-MS/MS
excision/digestion

## Slide 13: Shotgun Proteomics
µLC
Protein Mixture
proteolysis
Peptide Mixture
MS
MS/MS
1
1
2
2
3
3

## Slide 14
Data Dependant Acquisition
Is Intensity > Threshold
Full Scan 400-2000 m/z
Isolate m/z and Acquire MS/MS
Add Mass to Mass List
Is Ion Present In Mass List
No
No
Yes
Yes
Yates et al. Anal Chem, 67, 1426 (1995)
Stahl et al. JASMS, 7, 532 (1996)

## Slide 15: Can we perform this experiment without the separation of proteins?
Extract Protein Mixture
Denature
Digest into Small Pieces
cells in culture
Model Organisms

## Slide 16: Measurement of Peptides by Microcapillary Liquid Chromatography Tandem Mass Spectrometry
Microcapillary Chromatography Column
Peptide Mixture
Time
Abundance
Peptides are loaded onto the column and separated by liquid chromatography

## Slide 17: Acquiring Mass Spectrometry Data of Peptides
Peptides from the column are ionized and transmitted into the vacuum system using electrospray and trapped in the 2-dimensional ion trap
Microcapillary Column
2 kV
30 V

## Slide 18: Acquiring Mass Spectrometry Data of Peptides
m/z
Abundance
Peptides from the column are ionized and transmitted into the vacuum system using electrospray and trapped in the 2-dimensional ion trap
Ions are selectively ejected radially by their m/z to produce a mass spectrum
The instrument data-system automatically selects a m/z for further analysis
Selected m/z

## Slide 19: Acquiring a Fragmentation Spectrum
The trap is then refilled

## Slide 20: Acquiring a Fragmentation Spectrum
The trap is then refilled
All ions are ejected from the trap except the predetermined m/z
The energy of the isolated ion is increased resulting in collisions with the helium gas in the trap

## Slide 21: Acquiring a Fragmentation Spectrum
m/z
Abundance
The collisions with the helium molecules result in structure specific fragment ions
The fragment ions are then selectively ejected to produce a tandem mass spectrum

## Slide 22: Review
Mass Spectrum
Acquire mass spectrum
Select peptides for tandem mass spectrometry
Selectively isolate and fragment peptides.
Repeat for 3 different peptides
1
2
3
Tandem Mass Spectra of Peptides
~1 Second per cycle

## Slide 23
S Q H L F A P I S E K
Notes: How do we derive a peptide sequence from it’s MS/MS spectrum. Predominantly amino acids are fragmented at amide bonds and because amino acids have different side chains we can the amino acid sequence from the difference in mass in adjacent fragments.

## Slide 24
S Q H L F A P I S E K
147
276
363
477
574
645
792
905
1042
1170
216
353
467
614
685
782
895
982
1111
88
1111
1042
905
982
792
895
685
644
M-NH3
574
1042 / 2
467
353
Notes: When you look at all the spectra data together you can deduce the sequence of this peptide ion. You can see in red the masses of the peptides fragmented between the Leu and Phe residues.

## Slide 25
Automated Interpretation of MS/MS Spectra
MS/MS Spectrum
HTTLDEM
DTTEMIH
TMETIDH
Search Database for Precursor Mass
Theoretical MS/MS Spectra
Cross Correlation (Sequest)
Automated
Sequence and
Modification Identification
Eng et al. JASMS, 5, 976 (1994)

## Slide 26: Spectrum Identification
Database: fasta file
…
Computer Cluster
SEQUEST
Peptide ID list
>MEKK1 (kinase)
MDRILARMKKSTRRGGDKNITPVRRLERR…
>ATMKK5 (kinase kinase)
MKPIQSPSGVASPMKNRLRKRPDLSPPLPHRDVALAVLP…
MS/MS spectra
ID proteins from peptides…
Scan1 0.7 EGSSDEEVP…
Scan1 0.3 TFAEILNPI…
Scan1 0.2 ARFDLNNHD…
-------------------
Scan2 0.5 EDEESIRAV…
Scan2 0.2 WLGDDCFMV…
Scan2 0.1 IDRAAWKAV…
-------------------
Scan3 0.2 EITTRDMGN…
Scan3 0.1 GRNMCTAKL…
Eng et al. JASMS, 5, 976 (1994)

## Slide 27: Spectrum Identification
>MEKK1 (kinase)
MDRILARMKKSTRRGGDKNITPVRRLERR…
>ATMKK5 (kinase kinase)
MKPIQTFAEILNPITWRNRLRKRPDLSPPLPHRDVALAVP…
Database: fasta file
SEQUEST
Peptide ID list
MS/MS spectra
TFAEILNPITWR
score = 0.3
Scan1 0.7 EGSSDEEVP…
Scan1 0.3 TFAEILNPI…
Scan1 0.2 ARFDLNNHD…
-------------------
Scan2 0.5 EDEESIRAV…
Scan2 0.2 WLGDDCFMV…
Scan2 0.1 IDRAAWKAV…
-------------------
Scan3 0.2 EITTRDMGN…
Scan3 0.1 GRNMCTAKL…
z = 2, m/z = 720.6
mass = 1441.2
Eng et al. JASMS, 5, 976 (1994)

## Slide 28
[M+H]+ = 778.6

## Slide 29
[M+H]+ = 1295.0