## Slide 1: MALDI-TOF is used for imaging

## Slide 3
Mr
pI
LC-MS/MS
excision/digestion

## Slide 4: Shotgun Proteomics
µLC
Protein Mixture
proteolysis
Peptide Mixture
MS
MS/MS
1
1
2
2
3
3

## Slide 5
Data Dependant Acquisition
Is Intensity > Threshold
Full Scan 400-2000 m/z
Isolate m/z and Acquire MS/MS
Add Mass to Mass List
Is Ion Present In Mass List
No
No
Yes
Yes
Yates et al. Anal Chem, 67, 1426 (1995)
Stahl et al. JASMS, 7, 532 (1996)

## Slide 6: Can we perform this experiment without the separation of proteins?
Extract Protein Mixture
Denature
Digest into Small Pieces
cells in culture
Model Organisms

## Slide 7: Measurement of Peptides by Microcapillary Liquid Chromatography Tandem Mass Spectrometry
Microcapillary Chromatography Column
Peptide Mixture
Time
Abundance
Peptides are loaded onto the column and separated by liquid chromatography

## Slide 8: Acquiring Mass Spectrometry Data of Peptides
Peptides from the column are ionized and transmitted into the vacuum system using electrospray and trapped in the 2-dimensional ion trap
Microcapillary Column
2 kV
30 V

## Slide 9: Acquiring Mass Spectrometry Data of Peptides
m/z
Abundance
Peptides from the column are ionized and transmitted into the vacuum system using electrospray and trapped in the 2-dimensional ion trap
Ions are selectively ejected radially by their m/z to produce a mass spectrum
The instrument data-system automatically selects a m/z for further analysis
Selected m/z

## Slide 10: Acquiring a Fragmentation Spectrum
The trap is then refilled

## Slide 11: Acquiring a Fragmentation Spectrum
The trap is then refilled
All ions are ejected from the trap except the predetermined m/z
The energy of the isolated ion is increased resulting in collisions with the helium gas in the trap

## Slide 12: Acquiring a Fragmentation Spectrum
m/z
Abundance
The collisions with the helium molecules result in structure specific fragment ions
The fragment ions are then selectively ejected to produce a tandem mass spectrum

## Slide 13: Review
Mass Spectrum
Acquire mass spectrum
Select peptides for tandem mass spectrometry
Selectively isolate and fragment peptides.
Repeat for 3 different peptides
1
2
3
Tandem Mass Spectra of Peptides
~1 Second per cycle

## Slide 14
S Q H L F A P I S E K
Notes: How do we derive a peptide sequence from it’s MS/MS spectrum. Predominantly amino acids are fragmented at amide bonds and because amino acids have different side chains we can the amino acid sequence from the difference in mass in adjacent fragments.

## Slide 15
S Q H L F A P I S E K
147
276
363
477
574
645
792
905
1042
1170
216
353
467
614
685
782
895
982
1111
88
1111
1042
905
982
792
895
685
644
M-NH3
574
1042 / 2
467
353
Notes: When you look at all the spectra data together you can deduce the sequence of this peptide ion. You can see in red the masses of the peptides fragmented between the Leu and Phe residues.

## Slide 16
Automated Interpretation of MS/MS Spectra
MS/MS Spectrum
HTTLDEM
DTTEMIH
TMETIDH
Search Database for Precursor Mass
Theoretical MS/MS Spectra
Cross Correlation (Sequest)
Automated
Sequence and
Modification Identification
Eng et al. JASMS, 5, 976 (1994)

## Slide 17: Spectrum Identification
Database: fasta file
…
Computer Cluster
SEQUEST
Peptide ID list
>MEKK1 (kinase)
MDRILARMKKSTRRGGDKNITPVRRLERR…
>ATMKK5 (kinase kinase)
MKPIQSPSGVASPMKNRLRKRPDLSPPLPHRDVALAVLP…
MS/MS spectra
ID proteins from peptides…
Scan1 0.7 EGSSDEEVP…
Scan1 0.3 TFAEILNPI…
Scan1 0.2 ARFDLNNHD…
-------------------
Scan2 0.5 EDEESIRAV…
Scan2 0.2 WLGDDCFMV…
Scan2 0.1 IDRAAWKAV…
-------------------
Scan3 0.2 EITTRDMGN…
Scan3 0.1 GRNMCTAKL…
Eng et al. JASMS, 5, 976 (1994)

## Slide 18: Spectrum Identification
>MEKK1 (kinase)
MDRILARMKKSTRRGGDKNITPVRRLERR…
>ATMKK5 (kinase kinase)
MKPIQTFAEILNPITWRNRLRKRPDLSPPLPHRDVALAVP…
Database: fasta file
SEQUEST
Peptide ID list
MS/MS spectra
TFAEILNPITWR
score = 0.3
Scan1 0.7 EGSSDEEVP…
Scan1 0.3 TFAEILNPI…
Scan1 0.2 ARFDLNNHD…
-------------------
Scan2 0.5 EDEESIRAV…
Scan2 0.2 WLGDDCFMV…
Scan2 0.1 IDRAAWKAV…
-------------------
Scan3 0.2 EITTRDMGN…
Scan3 0.1 GRNMCTAKL…
z = 2, m/z = 720.6
mass = 1441.2
Eng et al. JASMS, 5, 976 (1994)

## Slide 19
[M+H]+ = 778.6

## Slide 20
[M+H]+ = 1295.0