## Slide 1: Evaluating Information
Genome 575: Fundamentals of Biomedical Instrumentation
Brian Beliveau

## Slide 2
Recap from last time
Information can be discrete or continuous
Sampling rate is a very important consideration
Information can be quantized (bits)
Information entropy describes the “expected surprisal”

## Slide 3
The guessing games
H(X=1–100) = - sum(1-100)[1/100 * log2(1/100)] = 6.64 bits
I(X=50, match) = -log(1/100) = 6.64 bits
I(X=50, lower) = - log2(49/100) = 1.03 bits
I(X=50, higher) = - log2(50/100) = 1 bit
I(X=33, match) = -log(1/100) = 6.64 bits
I(X=33, lower) = - log2(32/100) = 1.64 bits
I(X=33, higher) = - log2(67/100) = 0.58 bits
https://www.sciencenews.org/wp-content/uploads/2018/05/050718_EC_numbers_feat.jpg

## Slide 4
The guessing games
H(X=card) = - sum(1-52)[1/52 * log2(1/52)] = 5.70 bits
I(X=color, match) = -log2 (1/2) = 1 bit
I(X= color, miss) = -log2(1/2) = 1 bit
I(X=suit, match) = -log2(1/4) = 2 bits
I(X=suit, miss) = -log2(3/4) = 0.42 bits
I(X=7, match) = -log2 (1/13) = 3.7 bits
I(X=value, lower) = -log2 (6/13) = 1.12 bits
I(X=value, higher) = -log2 (6/13) = 1.12 bits
I(X=Jack, match) = -log2 (1/13) = 3.7 bits
I(X=Jack, lower) = -log2 (10/13) = 0.38 bits
I(X=Jack, higher) = -log2 (2/13) = 2.7 bits
I(X=Y of Z, ie, exact identity, success) = -log2(1/52) = 5.7 bits
I(X=Y of Z, ie, exact identity, failure) = -log2(51/52) = 0.03 bits
https://images.unsplash.com/photo-1541278107931-e006523892df?ixlib=rb-1.2.1&ixid=MnwxMjA3fDB8MHxzZWFyY2h8MXx8Y2FyZHN8ZW58MHx8MHx8&w=1000&q=80

## Slide 5
How do we evaluate information?
Class activity (10 mins): What questions should we ask about data/datasets?
https://www.tampabay.com/resizer/geVYWof5v2nP75k6cGzYunNkMRc=/1400x2500/smart/arc-anglerfish-arc2-prod-tbt.s3.amazonaws.com/public/KAE7GFWHDQI6TBKNIBWI6S7HAY.jpg
Supplementary Dataset 1

## Slide 6
How do we evaluate information?
Sample size?
Statistical testing?
QC metrics?
Methods well described?
Technical replicates?
Biological replicates?
Confounding variables?
Data stratification?
Over-fitting / leakage?
Aliasing / artifacts?
Misconduct?
https://images.emojiterra.com/google/android-11/512px/1f914.png
Supplementary Dataset 1

## Slide 7
Reminder: types of information
https://blog.seeedstudio.com/wp-content/uploads/2020/06/sine-new-1030x512.png
Continuous / Analog
Fully defined. Ie, f(t) == val for any t (in some interval)
Properties such as f, wavelength, amplitude can convey information

## Slide 8
Evaluating continuous information
https://blog.seeedstudio.com/wp-content/uploads/2020/06/sine-new-1030x512.png
Goodness of fit / likelihood
RMSE

## Slide 9
Thresholding
https://blog.seeedstudio.com/wp-content/uploads/2020/06/sine-new-1030x512.png
Turns continuous information into binary (and discrete)
Establishes decision boundaries

## Slide 10
Thresholding in practice
https://dm5migu4zj3pb.cloudfront.net/manuscripts/86000/86318/large/JCI86318.f4.jpg
Blood tests from 3 commercial testing sources
Cholesterol, LDL-C, HDL-C have defined normal ranges (upper and lower thresholds)
Lab 3
Lab 3
Lab 3

## Slide 11
Assessing bias in measurements
https://dm5migu4zj3pb.cloudfront.net/manuscripts/86000/86318/large/JCI86318.f5.jpg
Bias = discrepancy in using data source I as an estimator for data source J
I: Lab 3
J: Lab 1
I: Lab 2
J: Lab 1

## Slide 12
A tale of three labs
https://1000logos.net/wp-content/uploads/2021/03/Quest-Diagnostics-logo-768x502.png, https://hitconsultant.net/wp-content/uploads/2022/02/Ascension-Selects-Labcorp-to-Manage-Labs-Across-10-States.jpg, https://1000logos.net/wp-content/uploads/2020/11/Theranos-Logo-1024x640.png
I: Lab 3
J: Lab 1
I: Lab 2
J: Lab 1
Lab 3
Lab 1
Lab 2

## Slide 13
A tale of three labs
https://www.jci.org/articles/view/86318/pdf
The lack of technical replicates in the Theranos data is a notable limitation in our assessment of variability. Given the large intraindividual variability for lab tests from standard clinical services, understanding the variability in low-volume testing is critical for helping physicians and patients interpret test results …
The technical details of the analytical instruments used for the lab tests were unavailable at the time of the study and remained uncertain since its completion, which means that the differences we found could arise from multiple sources…

## Slide 14
Classifying binary information
https://qph.cf2.quoracdn.net/main-qimg-d1f717f321a4ebc8e6d2c1d1cc19f9fc, https://upload.wikimedia.org/wikipedia/commons/thumb/2/26/Precisionrecall.svg/700px-Precisionrecall.svg.png
“Truth Table”

## Slide 15
Receiver Operator Characteristic Curves
https://upload.wikimedia.org/wikipedia/commons/6/6b/Roccurves.png
TPR = TP / (TP + FN)
FPR = FP / (FP + TN)

## Slide 16
Game time!
https://i.kym-cdn.com/entries/icons/original/000/001/707/thecakeisalie.jpg, https://dnm.nflximg.net/api/v6/2DuQlx0fM4wd1nzqm5BFBi6ILa8/AAAAQYwP3BYZ2Ri_-P-sY4_vtR9_fv6KPptWKKniY2_VxxOzqurvjAbe7bi4XPq2NbcH4vw99f1gFDyU_TZe7bkeHOBKNYccZkoFBoRsCHFtqWFtHPYk16RT26YMxUs8PffGpvROrvismA_Kt8PHRAuviZLp.jpg?r=b5e
Two teams. Phones/computers away
Give each image a “cake score” of 1 (not likely to be cake) to 5 (super likely to be cake)

## Slide 17
Is it cake? #1
https://static.boredpanda.com/blog/wp-content/uploads/2019/09/Artist-creates-hyper-realistic-cakes-inspired-by-objects-and-fruits-5d8869b5a64b7__880.jpg

## Slide 18
Is it cake? #2
https://cdn.pixabay.com/photo/2022/01/09/10/53/lemon-6925734_1280.jpg

## Slide 19
Is it cake? #3
https://cdn.apartmenttherapy.info/image/upload/v1582914079/k/Edit/IMG_1725.jpg

## Slide 20
Is it cake? #4
https://i.insider.com/5d9c8d6c23f8645e02582215?width=1300&format=jpeg&auto=webp

## Slide 21
Is it cake? #5
https://static.boredpanda.com/blog/wp-content/uploads/2019/09/Artist-creates-hyper-realistic-cakes-inspired-by-objects-and-fruits-5d8869ba00e9f__880.jpg

## Slide 22
Is it cake? #6
https://www.youtube.com/watch?v=oZxCbuteM_4

## Slide 23
Is it cake? #7
https://i0.wp.com/awesomebyte.com/wp-content/uploads/2019/12/awesome-Cakes.jpg?w=1200&ssl=1

## Slide 24
Is it cake? #8
https://www.unilad.co.uk/viral/womans-hyper-realistic-cakes-will-make-you-think-nothing-is-real

## Slide 25
Is it cake? #9
https://www.google.com/url?sa=i&url=https%3A%2F%2Fwww.brenmarco.com%2Fproduct%2Fdubl-viewe-sandwich-bag-natural%2F&psig=AOvVaw2fYNNYMcieaqddoPlOZjLm&ust=1649908496451000&source=images&cd=vfe&ved=0CAoQjRxqFwoTCMjNxKCSkPcCFQAAAAAdAAAAABAR

## Slide 26
Is it cake? #10
https://www.unilad.co.uk/viral/womans-hyper-realistic-cakes-will-make-you-think-nothing-is-real

## Slide 27
Is it cake? #11
https://www.unilad.co.uk/viral/womans-hyper-realistic-cakes-will-make-you-think-nothing-is-real

## Slide 28
Is it cake? #12
https://static.boredpanda.com/blog/wp-content/uploads/2019/09/Artist-creates-hyper-realistic-cakes-inspired-by-objects-and-fruits-5d8869a2cf11c__880.jpg

## Slide 29
Is it cake? #13
https://www.instagram.com/p/CVN2X1TtwTA/?utm_source=ig_embed&utm_campaign=embed_video_watch_again

## Slide 30
Is it cake? #14
https://www.mantitlement.com/wp-content/uploads/2016/07/pan-fried-beef-tacos-stacked-vert.jpg

## Slide 31
Is it cake? #15
https://www.instagram.com/p/Cb5EG01JfJC/

## Slide 32
Is it cake? #16
https://www.instagram.com/p/CY4AFYVlhB7/

## Slide 33
Is it cake? #17
https://images.squarespace-cdn.com/content/v1/5113fcede4b099bd04eebc8d/1409757529299-MONGSWKRNPCBSBMG5AAH/Photo+Sep+03%2C+9+47+49+AM.jpg

## Slide 34
Is it cake? #18
https://st4.depositphotos.com/1009628/20306/i/600/depositphotos_203067720-stock-photo-homemade-hamburger-burger-fresh-vegetables.jpg

## Slide 35
Is it cake? #19
https://www.instagram.com/p/Cb7nIAMl-RM/

## Slide 36
Is it cake? #20
https://m.media-amazon.com/images/S/assets.wholefoodsmarket.com/PIE/product/575f28f7c8ecc79afb742996_produce_redonions.1._TTD_._SR600,600_._QL100_.jpg

## Slide 37
Is it cake? #21
https://cdnimg.webstaurantstore.com/images/products/large/527685/1949373.jpg

## Slide 38
Is it cake? #22
https://www.wilton.com/dw/image/v2/AAWA_PRD/on/demandware.static/-/Sites-wilton-project-master/default/dw91adac21/images/project/WLPROJ-8535/Scalloped-White-Wedding-Cake.jpg?sw=1440&sh=750&sm=fit

## Slide 40
#1: It’s cake!
https://static.boredpanda.com/blog/wp-content/uploads/2019/09/Artist-creates-hyper-realistic-cakes-inspired-by-objects-and-fruits-5d8869b5a64b7__880.jpg

## Slide 41
#2: Not cake!
https://cdn.pixabay.com/photo/2022/01/09/10/53/lemon-6925734_1280.jpg

## Slide 42
#3: Not cake!
https://cdn.apartmenttherapy.info/image/upload/v1582914079/k/Edit/IMG_1725.jpg

## Slide 43
#4: It’s cake!
https://i.insider.com/5d9c8d6c23f8645e02582215?width=1300&format=jpeg&auto=webp

## Slide 44
#5: It’s cake!
https://static.boredpanda.com/blog/wp-content/uploads/2019/09/Artist-creates-hyper-realistic-cakes-inspired-by-objects-and-fruits-5d8869ba00e9f__880.jpg

## Slide 45
#6: It’s cake!
https://www.youtube.com/watch?v=oZxCbuteM_4

## Slide 46
#7: It’s cake!
https://i0.wp.com/awesomebyte.com/wp-content/uploads/2019/12/awesome-Cakes.jpg?w=1200&ssl=1

## Slide 47
#8: It’s cake!
https://www.unilad.co.uk/viral/womans-hyper-realistic-cakes-will-make-you-think-nothing-is-real

## Slide 48
#9: Not cake!
https://www.google.com/url?sa=i&url=https%3A%2F%2Fwww.brenmarco.com%2Fproduct%2Fdubl-viewe-sandwich-bag-natural%2F&psig=AOvVaw2fYNNYMcieaqddoPlOZjLm&ust=1649908496451000&source=images&cd=vfe&ved=0CAoQjRxqFwoTCMjNxKCSkPcCFQAAAAAdAAAAABAR

## Slide 49
#10: It’s cake!
https://www.unilad.co.uk/viral/womans-hyper-realistic-cakes-will-make-you-think-nothing-is-real

## Slide 50
#11: It’s cake!
https://www.unilad.co.uk/viral/womans-hyper-realistic-cakes-will-make-you-think-nothing-is-real

## Slide 51
#12: It’s cake!
https://static.boredpanda.com/blog/wp-content/uploads/2019/09/Artist-creates-hyper-realistic-cakes-inspired-by-objects-and-fruits-5d8869a2cf11c__880.jpg

## Slide 52
#13: It’s cake!
https://www.instagram.com/p/CVN2X1TtwTA/?utm_source=ig_embed&utm_campaign=embed_video_watch_again

## Slide 53
#14: Not cake!
https://www.mantitlement.com/wp-content/uploads/2016/07/pan-fried-beef-tacos-stacked-vert.jpg

## Slide 54
#15: It’s cake!
https://www.instagram.com/p/Cb5EG01JfJC/

## Slide 55
#16: It’s cake!
https://www.instagram.com/p/CY4AFYVlhB7/

## Slide 56
#17: Not cake!
https://images.squarespace-cdn.com/content/v1/5113fcede4b099bd04eebc8d/1409757529299-MONGSWKRNPCBSBMG5AAH/Photo+Sep+03%2C+9+47+49+AM.jpg

## Slide 57
#18: Not cake!
https://st4.depositphotos.com/1009628/20306/i/600/depositphotos_203067720-stock-photo-homemade-hamburger-burger-fresh-vegetables.jpg

## Slide 58
#19: It’s cake!
https://www.instagram.com/p/Cb7nIAMl-RM/

## Slide 59
#20: Not cake!
https://m.media-amazon.com/images/S/assets.wholefoodsmarket.com/PIE/product/575f28f7c8ecc79afb742996_produce_redonions.1._TTD_._SR600,600_._QL100_.jpg

## Slide 60
#21: Not cake!
https://cdnimg.webstaurantstore.com/images/products/large/527685/1949374.jpg

## Slide 61
#22: It’s cake!
https://www.wilton.com/dw/image/v2/AAWA_PRD/on/demandware.static/-/Sites-wilton-project-master/default/dw91adac21/images/project/WLPROJ-8535/Scalloped-White-Wedding-Cake.jpg?sw=1440&sh=750&sm=fit

## Slide 62
Exercise: ROC out your cake results
https://upload.wikimedia.org/wikipedia/commons/6/6b/Roccurves.png
TPR = TP / (TP + FN)
FPR = FP / (FP + TN)
Generate your (FPR, TPR) for cake scores 1–5
Plot a curve and measure (or estimate) AUC