## Slide 1: Reminder: Analog and Digital signals
Analog signal: a continuous signal of varying quantity which normally has a time varying feature
Digital signal: signal represented as discrete values and can only take one of a finite number of values.

## Slide 2: Review: ADCs (digital conversion)
Bit resolution
  How much accuracy can the ADC convert from analog to digital?
3-bit ADC can provide 23 divisions (8) in signal
8-bit ADC = 256 division
16-bit ADC = 65536

## Slide 3: How many bits would it take to store DNA sequence information?
How much to store each DNA base?
For each 150-base read?
For 40,000,000 reads?

## Slide 4: To store the sequences
Each DNA base (A, T, G, C) requires 2 bits of information:
  A = 00
  T = 01
  G = 10
  C = 11
For 150-base reads: 150 bases × 2 bits/base = 300 bits per read
40,000,000 reads × 300 bits = 12,000,000,000 bits
12,000,000,000 bits ÷ 8 bits/byte = 1,500,000,000 bytes
1,500,000,000 bytes ÷ 1,000 bytes/KB = 1,500,000,000 KB
1,500,000,000 KB = 1.5 GB
Notes: This calculation represents the theoretical minimum storage required for just the sequence data in its most compressed form. In practice, sequencing data files (like FASTQ) include quality scores for each base and other metadata, which substantially increases the actual storage requirements by 4-8 times these values.
The correct conversion uses powers of 1,024 (2^10) rather than powers of 1,000 when moving between binary units of storage (bytes → kilobytes → megabytes → gigabytes).

## Slide 5: Other types of analog to digital conversion in Omics?
= X reads
3-bit ADC can provide 23 divisions (8) in signal
8-bit ADC = 256 division
16-bit ADC = 65,536
24-bit ADC = 16,777,216
32-bit ADC = 4,294,967,296

## Slide 6: In practice: Today … wells are at fixed locations
Each well is basically 1-bit of quantitative information

## Slide 7: Maximum “Count” Per Read is 1
1 bit per read
40,000,000 reads × 1 bit = 40,000,000 bits
40,000,000 bits ÷ 8 bits/byte = 5,000,000 bytes
5,000,000 bytes ÷ 1,000 bytes/KB = 5,000 KB
5000 ÷ 1,000 KB/MB = 5 MB

## Slide 8: Quantitative Bit Resolution for RNA-Seq = Reads
Scenario:
40 million reads
~10,000 unique molecular species
Mean mRNA molecule copy per cell = 5
Dynamic range of mRNA molecules per cell 1-100
Questions:
Is 40 million reads enough?
If yes, why?
If no, what would be a good number?
Notes: 40,000,000 reads / 10,000 molecular species = ~4000 reads on average per molecular species
400,000 mRNA molecules per cell … so ~100 reads for mRNA at the single copy level.

## Slide 9: Quantitative Bit Resolution for RNA-Seq = Reads
Scenario:
40 million reads
~10,000 unique molecular species
Mean mRNA molecule copy per cell = 50,000
Dynamic range mRNA molecules per cell 10 to 1 million
Questions:
Is 40 million reads enough?
If yes, why?
If no, what would be a good number?
Notes: 40,000,000 reads / 10,000 molecular species = ~4000 reads on average per molecular species
4,000,000,000 molecules … 0.01 read for molecule.

## Slide 10: Selectivity vs Sensitivity

## Slide 11: Fluorescence Advantage
Absorption measurements detect a small change in a large signal (the difference between incident light and transmitted light)
Fluorescence measurements detect a small signal against a dark background (essentially "zero" background)
Chemical noise/background is a major limitation.

## Slide 15: Quantitative Analysis 101
What does it mean to be quantitative?

## Slide 16: The change in signal should reflect the change in quantity

## Slide 17: Quantitative Analysis 101
Amount (moles)
Measured Intensity (Area)
LOD
LLOQ
ULOQ
Linear Dynamic Range
LOD: Limit of Detection
LLOQ: Lower Limit of Quantitation
ULOQ: Upper Limit of Quantitation

## Slide 18: Quantitative Analysis 101: Using an Internal Std
Amount (moles)
Intensity Ratio (Area Ratio)
LOD
LLOQ
ULOQ
Linear Dynamic Range
LOD: Limit of Detection
LLOQ: Lower Limit of Quantitation
ULOQ: Upper Limit of Quantitation

## Slide 19: Quantitative Analysis 101
What does it mean to be quantitative?
What does signal calibration mean?

## Slide 20: Measurements on different platforms are not measured on the same scale

## Slide 21: Between Batch/Platform/Lab Signal Calibration
Purpose of signal calibration
Placing signal on the same scale
Often the scale is arbitrary
  Kilogram = mass of a liter of water at freezing point
  Meter = 1/10,000,000 the distance from the equator to the north pole
  Pee dee belomnite (PDB) = reference for 13C, fossil found in Peedee Formation in South Carolina
  Standard mean ocean water (SMOW) = reference for 18O, arbitrary mix of distilled water from different regions of the world.

## Slide 22: Physical Kilogram Standard
Platinum-iridium cylinder, known as the International Prototype of the Kilogram (IPK)
Used as the reference from 1889 to 2019.
This cylinder is approximately golf ball-sized and machined from a platinum-iridium alloy.
Stored under lock and key in France. In 2019, the kilogram was redefined using fundamental constants of nature, and the IPK is no longer the official standard.
Now:
Defined using Planck’s constant and the speed of light

## Slide 23: Meter Reference Similar
NIST Meter Bar 27
No. 27 became the U.S. reference standard for all length measurements. It remained so until 1960

## Slide 24: Use of calibration curve to convert signal to quantity
Analyte (m/z = M)
Where: ki= is the slope of the standard curve Ab  0 Area from a blank
Intensity
M
Intensity
time
m/z
A
Known Amount
Measured Signal (Area)

## Slide 25: What you calibrate against is important

## Slide 26: What you calibrate against is important
Bicinchoninic acid (BCA) is the current standard for measuring protein abundance.

## Slide 27: What you calibrate against is important
Smith et al., Anal Biochem 1985

## Slide 28: What is the difference between relative and absolute quantitation?

## Slide 29: What is the difference between a “differential” and a “quantitative” measurement?

## Slide 30: What does it mean if these are the two points?
Amount (moles)
Measured Intensity (Area)
LOD
LLOQ
ULOQ
Linear Dynamic Range
LOD: Limit of Detection
LLOQ: Lower Limit of Quantitation
ULOQ: Upper Limit of Quantitation

## Slide 31: Major Quantitative Figures of Merit
LOD – Limit of Detection
LLOQ – Limit of Quantitation
Precision
  Within batch/day
  Between batch/day

## Slide 32: Limit of detection
Is a signal statistically different from a blank?

## Slide 33: Limit of Quantitation
Does the change in quantity reflect the change in signal?
The limit of quantitation (LOQ; also referred to as the lower limit of the measuring interval (LLMI)) is defined by the Clinical and Laboratory Standards Institute as ″the lowest measurand concentration at which all defined performance characteristics of the measurement procedure are met.″
Our lab often chooses for LLOQ:
Must be >LOD
Must have a coefficient of variation <20% (aka S/N >5)

## Slide 34: Limit of Quantitation
Does the change in quantity reflect the change in signal?
The limit of quantitation (LOQ; also referred to as the lower limit of the measuring interval (LLMI)) is defined by the Clinical and Laboratory Standards Institute as ″the lowest measurand concentration at which all defined performance characteristics of the measurement procedure are met.″

## Slide 35: Matrix Effects in Quantitation

## Slide 36: Matrix Effects in Quantitation

## Slide 37: Method of Standard Addition
Can’t assess Limit of Quantification. Can only assess whether the sample us above the LOQ

## Slide 38: Mixing two samples of extreme conditions
Assume that you have a healthy and a disease cohort.
You can take a pool of the healthy and a pool of the disease to demonstrate that the measurement is linear between the two conditions
Example
  100% condition A
  80% condition A, 20% condition B
  50% condition A, 50% condition B
  20% condition A, 80% condition B
  100% condition B